ENGINEERING, CUTTACK

DEPARTMENT OF CIVIL ENGINEERING

LESSON PLAN

| SUBJECT: WATER SUPPLY & WASTE WATER ENGINEERING (TH4) | ACCADEMIC SESSION: 2021-22 |
| --- | --- |
| FACULTY: SRI GIRIJA PRASAD DAS | SEMESTER: 5TH |
|  | SEC: C |

Sd/-

H O D (Civil Engg.)

| Discipline: Civil Engineering | Semester: 5TH |  | Name of teaching faculty: SRI GIRIJA PRASAD DAS |
| --- | --- | --- | --- |
| Subject: WATER SUPPLY AND WASTE WATER ENGG. | No. of days/ per week class allotted : 05 period per week (Mon-1 period ;Tue- 2 period ;Thu-1 period; Fri- 1 period) |  | Semester from date : 01/10/2021 To date : 08/01/2022 No of week : 14 |
| Week | Class day | No of period available | Theory topics |
| 1st | 01/10/2021 | 1 | INTRODUCTION TO WATER SUPPLY, QUANTITY AND QUALITY OF WATER 1.1 Necessity of treated water supply 1.2 Per capita demand, variation in demand |
| 2nd | 04/10/2021 | 1 | factors affecting demand |
|  | 05/10/2021 | 2 | 1.3Methods of forecasting population, Numerical problems using different methods |
|  | 07/10/2021 | 1 | Numerical problems using different method |
|  | 08/0/2021 | 1 | 1.4 Impurities in water – organic and inorganic, Harmful effects of impurities |
| 3rd | 21/10/2021 | 1 | 1.5 Analysis of water –physical, chemical and bacteriological |
|  | 22/10/2021 | 1 | 1.6 Water quality standards for different uses |
| 4th | 25/10/2021 | 1 | SOURCES AND CONVEYANCE OF WATER 2.1 Surface sources – Lake, stream, river and impounded reservoir |
|  | 26/0/2021 | 2 | 2.2 Underground sources – aquifer type & occurrence – Infiltration gallery, infiltration well, springs, 2.3 Yield from well- method s of determination, Numerical problems using yield formulae |
|  | 28/10/2021 | 1 | Monthly Test-1 |
|  | 29/10/2021 | 1 | 2.5 Pumps for conveyance & distribution – types, selection, installation |
| 5th | 01/11/2021 | 1 | 2.6 Pipe materials – necessity, suitability, merits & demerits of each type 2.7 Pipe joints – necessity, types of joints, suitability, methods of jointing ,Laying of pipes – method |
|  | 02/11/2021 | 2 | 3. TREATMENT OF WATER 3.1 Flow diagram of conventional water treatment system 3.2 Treatment process / units : 3.2.1 Aeration ; Necessity 3.2.2 Plain Sedimentation : Necessity |
|  | 05/11/2021 | 1 | working principles, Sedimentation tanks – types, essential features, operation & maintenance |
| 6th | 08/11/2021 | 1 | 3.2.3 Sedimentation with coagulation: Necessity, principles of coagulation, |
|  | 09/11/2021 | 2 | types of coagulants, Flash Mixer, Flocculator, Clarifier (Definition and concept only) 3.2.4 Filtration : Necessity, principles |
|  | 11/11/2021 | 1 | types of filter,Slow Sand Filter, Rapid Sand Filter and Pressure Filter – essential features |
|  | 12/11/2021 | 1 | 3.2.5 Disinfection : Necessity, methods of disinfection Chlorination – free and combined chlorine demand |
| 7TH | 15/11/2021 | 1 | available chlorine, residual chlorine, pre-chlorination, break point chlorination, super-chlorination |
|  | 16/11/2021 | 2 | 3.2.6 Softening of water – Necessity, Methods of softening – Lime soda process and Ion exchange method |
|  | 18/11/2021 | 1 | DISTRIBUTION SYSTEM AND APPURTENANCE IN DISTRIBUTION SYSTEM: 4.1 General requirements, types of distribution system-gravity, direct and combined |
| 8TH | 22/11/2021 | 1 | 4.2 Methods of supply – intermittent and continuous |
|  | 23/11/2021 | 2 | 4.3 Distribution system layout – types, comparison, suitability 4.4 Valves-types, features, uses, purpose-sluice valves, |
|  | 25/11/2021 | 1 | check valves, air valves ,scour valves, Fire hydrants, Water meters |
|  | 26/11/2021 | 1 | SECTION B: WASTE WATER ENGINEERING 6 Introduction6.1 Aims and objectives of sanitary engineering 6.2 Definition of terms related to sanitary engineering |
| 9TH | 29/11/2021 | 1 | Monthly Test-2 |
|  | 30/11/2021 | 2 | 6.3 Systems of collection of wastes– Conservancy and Water Carriage System –features, comparison, suitability QUANTITY AND QUALITY OF SEWAGE 7.1 Quantity of sanitary sewage – domestic & industrial sewage, variation in sewage flow |
|  | 02/12/2021 | 1 | Internal Assessment |
|  | 03/12/2021 | 1 | Internal Assessment |
| 10TH | 06/12/2021 | 1 | numerical problem on computation quantity of sanitary sewage 7.2 Computation of size of sewer, application of Chazy’s formula, |
|  | 07/12/2021 | 2 | Limiting velocities of flow : self-cleaning and scouring 7.3 General importance, strength of sewage,Characteristics of sewage-physical,chemical & biological |
|  | 09/12/2021 | 1 | 7.4 Concept of sewage-sampling, tests for – solids, pH, dissolved oxygen, BOD,COD 8.SEWERAGE SYSTEM 8.1 Types of system-separate, combined, partially separate , features, comparison between the types, suitability |
|  | 10/12/2021 | 1 | 8.2 Shapes of sewer – rectangular circular,avoid-features, suitability |
| 11TH | 13/12/2021 | 1 | 8.3 Laying of sewer-setting out sewer alignment |
|  | 14/12/2021 | 2 | Sewer appurtenances and Sewage Disposal:9.1 Manholes and Lamp holes-types,features,location,functions 9.2 Inlets, Grease & oil trap – features, location, function |
|  | 16/12/2021 | 1 | 9.3 Storm regulator, inverted siphon – features, location, function 9.4 Disposal on land – sewage farming, sewage application and dosing,sewage sickness-causes and remedies |
|  | 17/12/2021 | 1 | 9.5 Disposal by dilution – standards for disposal in different types of water bodies,self purification of stream |
| 12TH | 20/12/2021 | 1 | 9. SEWAGE TREATMENT : 10.1 Principles of treatment, flow diagram of conventional treatment |
|  | 21/12/2021 | 2 | 10.2 Primary treatment – necessity, principles, essential features, functions |
|  | 23/12/2021 | 1 | 10.3 Secondary treatment – necessity, principles, |
|  | 24/12/2021 | 1 | essential features, functions of secondary treatment unit |
| 13TH | 27/12/2021 | 1 | SANITARY PLUMBING FOR BUILDING : 11.1 Requirements of building drainage, layout of lavatory blocks in residential,buildings, layout of building drainage |
|  | 28/12/2021 | 2 | 11.2 Plumbing arrangement of single storied & multi storied building as per I.S. code practice 11.3 Sanitary fixtures – features, function, and maintenance and fixing of the fixtures – water closets, flushing cisterns, urinals, inspection chambers, traps, anti-syphonage pipe |
|  | 30/12/2021 | 1 | SECTION A: WATER SUPPLY ENGG W/S PLUMBING IN BUILDING 5.1 Method of connection from water mains to building supply |
|  | 31/12/2021 | 1 | 5.2 General layout of plumbing arrangement for water supply in single storied and multi-storied building as per I.S. code |
| 14TH | 03/01/2022 | 1 | Monthly Test-3 |
|  | 04/01/2022 | 2 | Revision |
|  | 06/01/2022 | 1 | Revision |
|  | 07/01/2022 | 1 | Previous Year Question Discussion |